Kitchen Exhaust Systems Cleaning Report

| Property Inspected |  |  |  |  |  |  | Date of Inspection: |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Property Address |  |  |  |  |  |  |  |  |  |
| Owner: |  |  |  |  |  | Phone: |  |  |  |
| Multiple Hoods: |  |  |  | ☐ Yes ☐ No | Name/location of hood: |  |  |  |  |

| Appliances |  |  |  |  |
| --- | --- | --- | --- | --- |
| Main Fuel Type: | ☐ Natural Gas | ☐ Electric | ☐ Solid Fuel |  |
| Cooking Volume: | ☐ Very High | ☐ High | ☐ Medium | ☐ Low |
| Main Cooking Style: | ☐ Deep Fat Frying | ☐ Asian | ☐ Griddle | ☐ Char Broiling |
|  | ☐ Other: |  |  |  |

| Does exhaust hood capture all heat and cooking effluent? | ☐ Yes ☐ No |
| --- | --- |

| Exhaust System |  |  |  |  |
| --- | --- | --- | --- | --- |
| Hood Type: | ☐ Modular Extractor | ☐ Water wash | ☐ Filter | ☐ Other: |
| Fan Type | ☐ Upblast | ☐ Other: | Fan Termination: | ☐ Wall ☐ Roof |

| Duct Type: | ☐ Type I (grease) |  | ☐ Type II (steam, vapor, heat, odors) |  |  | ☐ Rooftop grease containment system |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Number of floors of system: |  |  |  | Feet of Horizontal Duct: |  |  |  |

|  | None | Minimal | Average | Heavy |
| --- | --- | --- | --- | --- |
| Grease build-up on filters |  |  |  |  |
| Grease build-up in hood |  |  |  |  |
| Grease build-up in ductwork |  |  |  |  |
| Grease build-up on fan |  |  |  |  |
| Grease build-up of roof |  |  |  |  |

|  | Yes | No | NA |  | Yes | No | NA |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Entire system interior accessible? |  |  |  | Fan tippable or interior accessible? |  |  |  |
| Adequate access panels? |  |  |  | Fan is working properly? |  |  |  |
| Filters conforming and in place? |  |  |  | Is fan wiring defect free? |  |  |  |
| Water wash hood operational? |  |  |  | Roof around fan is free of grease build-up? |  |  |  |
| Hood Damper operates properly? |  |  |  | System is liquid tight? |  |  |  |
| Dangerous non-conforming access? |  |  |  | Entire system clean to applicable codes? |  |  |  |

| Recommended Cleaning Frequency: |  | times per year. | Next Cleaning Date: |  |
| --- | --- | --- | --- | --- |

| Inaccessible areas exist in this system? | ☐ Yes | ☐ No (Areas not inspected are listed in comments.) |
| --- | --- | --- |

| Summary |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Name of Cleaning Company: |  |  |  |  |
| Comments: |  |  |  |  |  |  |  |  |
| Photos or additional information attached? |  |  |  |  |  |  |  |  |
| Technician Name: |  |  |  |  |  | Date of service |  |  |
| Signature: |  |  |  |  |  |  |  |  |